This page was exported from Labappara scientific instrument [    https://www.labappara.com    ]

Export date: Wed Apr 17 7:05:50 2024 / +0000 GMT

# Autoclave(Non electrical, Cooker Type ,S.S)

Product Categories: Autoclave & Sterilizer, Autoclaves, Lab Heating- Equipment, Laboratory Equipments

Product Tags: biology lab equipment, chemistry lab instruments, physics lab instruments

Product Page: https://www.labappara.com/product/autoclavenon-electrical-cooker-type-s-s/

## Product Description

- Made of Stainless Steel. Also available in Electric / Non Electric (Fuel Based). Also available with Semi-Automatic (Timer Based). All sizes are approximate.

- Used for Sterilization of Surgical Instruments and Dressings.

- Seamless Construction (Joint less) from Extra Thick Aluminum Sheet/S.S. Sheet for better safety

- Good quality synthetic rubber Gasket for Longer and better performance and Hygiene.

- Weight Type Safety Valve and Pressure Regulating Device for better safety and functioning.

- Co loured ceded Pressure gauge (0-30 ibs/in2) to indicate the safe, sterilization and danger zones.

- Highly strong and durable vacuum and steam resale valves.

- Handles and valve knobs made of very durable, heat resistant and fine quality Bakelite.

- Heating element made of heavy copper pipe for longer life.

Size 12" x 12"

Product added date: 2017-03-20 12:55:39

Product modified date: 2018-05-17 14:21:52

Product export as MS Document by WooCommerce PDF & Print plugin.